## Slide 1: Single-Defect Phonons Imaged by Electron Microscopy
DMR-2011967, MRSEC
2021 Shared Facilities
The new Nion HERMES 200 is an aberration corrected, monochromated scanning transmission electron microscope (STEM) equipped with angle-resolved electron energy-loss spectroscopy (EELS), which is the first at a University Shared Facility.
Based on the new capabilities of this instrument, the UCI MRSEC team (Pan and Wu) demonstrated, for the first time, exotic atomic vibrations localized at a single stacking fault in cubic SiC, showing by an energy shift of 3.8 meV and an obvious intensity modulation of the acoustic phonon mode.
Left panel: Nion UltraSTEM. Right panel: Sketch of a stacking fault in cubic SiC (top) and 3D plot of phonon spectra mapped by EELS (bottom).
Yan, X., Liu, C., Gadre, C.A. et al. Single-defect phonons imaged by electron microscopy. Nature 589, 65–69 (2021). https://doi.org/10.1038/s41586-020-03049-y
Xiaoqing Pan, Ruqian Wu, University of California, Irvine